{"text_format":"2","workbook":"xls","n_sheets":29,"sheets":["総合計","明細1 (2)","栗原様12号","動力設備 (15)","空調設備 (15)","児玉成弘様17号","動力設備 (5)","空調設備 (5)","児玉成弘様大草田","動力設備 (6)","空調設備 (6)","佐野司様17号ハウス","動力設備 (7)","空調設備 (7)","佐野司様5号Bハウス","動力設備 (16)","空調設備 (8)","松本様4号下ハウス","動力設備 (17)","空調設備 (9)","敷本忠洋様3号ハウス","動力設備 (13)","空調設備 (13)","敷本忠洋様17号ハウス","動力設備 (14)","空調設備 (14)","毎田周一様３号ハウス","動力設備 (11)","空調設備 (16)"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":28,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"総合計","index":0,"n_rows":17,"n_cols":6,"rows_kept":17,"cut":false,"hidden":false,"merged":[[0,1,0,6],[14,5,14,6],[15,5,15,6],[16,5,16,6],[2,2,2,4],[2,5,2,6],[6,1,6,2],[6,5,6,6],[12,5,12,6],[13,5,13,6],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[10,5,10,6],[11,1,11,2],[11,5,11,6],[8,5,8,6],[9,5,9,6],[12,1,12,2],[13,1,13,2],[14,1,14,2],[21,1,21,2],[22,1,22,2],[23,1,23,2],[24,1,24,2],[15,1,15,2],[16,1,16,2],[17,1,17,2],[18,1,18,2],[19,1,19,2],[20,1,20,2]],"flags":["formulas_cached_only"]}
[null,"仕様書（総括）"]
[]
[null,"事業名：","令和４年度　産地生産基盤パワーアップ事業"]
[null,"納入場所：","三次市東酒屋"]
[]
[null,"　"]
[null,"品　　名",null,"数量","単位","備　考"]
[]
[1,"栗原秀治様12号",null,1,"式","別紙明細３枚"]
[2,"児玉成弘様17号ハウス",null,1,"式","別紙明細３枚"]
[3,"児玉成弘様大草田ハウス",null,1,"式","別紙明細３枚"]
[4,"佐野司様17号ハウス",null,1,"式","別紙明細３枚"]
[5,"佐野司様5号Bハウス",null,1,"式","別紙明細３枚"]
[6,"松本雄平様4号",null,1,"式","別紙明細３枚"]
[7,"敷本忠洋様3号",null,1,"式","別紙明細３枚"]
[8,"敷本忠洋様17号",null,1,"式","別紙明細３枚"]
[9,"毎田周一様３号ハウス",null,1,"式","別紙明細３枚"]

{"sheet":"明細1 (2)","index":1,"n_rows":48,"n_cols":9,"rows_kept":48,"cut":false,"hidden":true,"merged":[[0,1,0,2]],"flags":["formulas_cached_only"]}
[null,"明　　　細　　　書",{"$nulls":4},"Ｎｏ．１"]
["動力設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","単　　価","金　　額","摘　　　要",null,"単　　価"]
["【動力幹線配線材】"]
["硬質ビニル電線管","VE-42J　露出",null,"ｍ",704,null,null,704,640]
["樹脂製エントランスキャップ","VE-42",null,"個",2376,null,null,2376,2160]
["2号コネクタ","VE　42",null,"個",528,null,null,528,480]
["合成樹脂製可とう電線管","PF-D-42　露出",null,"ｍ",660,null,null,660,600]
["ゴックスコネクタ","PF-D-42　",null,"個",902,null,null,902.0000000000001,820]
["電線管支持材",null,null,"式",1672,null,null,1672.0000000000002,1520]
["600V　CVTケーブル","CVT30°　一般管内",null,"ｍ",3135,null,null,3135.0000000000005,2850]
[{"$nulls":7},0]
["【動力盤・支持材】",{"$nulls":6},0]
["カラーEポール","XDDC2770KW",null,"本",52140,null,null,52140.00000000001,47400]
["自在バンド","TVBD-11　　114Φ",null,"本",893,null,null,893.2,812]
["丸シンプル","中",null,"個",110,null,null,110.00000000000001,100]
["メッセンジャーワイヤー","22°",null,"ｍ",174,null,null,173.8,158]
["巻付グリップ","22°碍子・シンプル用",null,"個",378,null,null,378.40000000000003,344]
["玉碍子","大玉",null,"個",739,null,null,739.2,672]
["計器用プレート","3Φ　特大",null,"個",1078,null,null,1078,980]
["鋼管ポール","カラーM10ポール　XDDC1155",null,"本",19800,null,null,19800,18000]
["盤類支持材","SD-D1-2m",null,"本",1329,null,null,1328.8000000000002,1208]
["専用Uボルト","DD561",null,"本",990,null,null,990.0000000000001,900]
["プラボックス　屋根付","300×400×160",null,"個",5313,null,null,5313,4830]
["配線用遮断器","MMCB　3P3E125A　B-123EC12",null,"台",15840,null,null,15840.000000000002,14400]
["漏電遮断器　モーター保護兼用","ELCB　3P3E40A　GB-53EC",null,"台",12870,null,null,12870.000000000002,11700]
[{"$nulls":7},0]
["【機器配線材】",{"$nulls":6},0]
["VV-Fケーブル","VV-F　2.0-3C",null,"ｍ",282,null,null,281.6,256]
["600V　CVT　ケーブル","CVT８°　ころがし",null,"ｍ",746,null,null,745.8000000000001,678]
["600V　CVT　ケーブル","CVT14°　ころがし",null,"ｍ",793,null,null,793.1,721]
["波付硬質ポリエチレン管","FEP-40",null,"ｍ",212,null,null,212.3,193]
["波付硬質ポリエチレン管　付属品","FEP-40N",null,"個",440,null,null,440.00000000000006,400]
["合成樹脂製可とう電線管","PF-D-36　露出",null,"ｍ",521,null,null,521.4000000000001,474]
["ボックスコネクター","PF-D-36　",null,"個",743,null,null,742.5000000000001,675]
["波付硬質ポリエチレン管","EFP-80　地中",null,"ｍ",459,null,null,458.70000000000005,417]
["接地工事材","接地棒　7Φ-500L",null,"本",957,null,null,957.0000000000001,870]
["接地工事材","IV3.5°",null,"ｍ",737,null,null,737.0000000000001,670]
[{"$nulls":7},0]
["【その他材料】",{"$nulls":6},0]
["雑材料消耗品",null,null,"式",8353,null,null,8353.400000000001,7594]
[{"$nulls":7},0]
["【工事費】",{"$nulls":6},0]
["高所作業車","スカイマスター12ｍ",null,"日",2640,null,null,2640,2400]
["電工労務費",null,null,"式",144100,null,null,144100,131000]
["電力会社等申請手続費",null,null,"式",10000,null,null,11000,10000]
[{"$nulls":7},0]
["小計",{"$nulls":6},0]

{"sheet":"栗原様12号","index":2,"n_rows":17,"n_cols":7,"rows_kept":17,"cut":false,"hidden":false,"merged":[[2,1,2,2],[2,5,2,6],[0,0,0,5],[11,5,11,6],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[6,5,6,6],[7,1,7,2],[7,5,7,6],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2],[8,1,8,2],[8,5,8,6],[9,1,9,2],[10,1,10,2],[10,5,10,6],[11,1,11,2],[22,1,22,2],[23,1,23,2],[24,1,24,2],[25,1,25,2],[16,1,16,2],[19,1,19,2],[20,1,20,2],[21,1,21,2]],"flags":["formulas_cached_only"]}
["栗原秀治様　12号ハウス　仕様書",{"$nulls":5},"Ｎｏ．１"]
[null,"　"]
[null,"品　　名",null,"数量","単位","備　考"]
[null,"【機器費】"]
[1,"ぐっぴーバズーカーツインタイプ　KBHP-GP180-T2",null,2,"セット"]
[]
[null,"【別売品】"]
[2,"標準多機能ワイヤードリモコン　KBOP-34MA1",null,2,"個","８段変温管理可能"]
[3,"風量ボリュームコントローラー　KBOP-VA02C",null,2,"個"]
[4,"ハウス内ユニット用可変風向ガイド　KBOP-GV01B",null,4,"個"]
[5,"ハウス内ユニット用ドレンソケット　KBOP-DS05",null,4,"個","ソケット1キャップ1"]
[6,"ハウス内ユニット用ドレンソケット　KBOP-DS06",null,2,"個","ソケット1キャップ4"]
[7,"サーモ付テープヒーター　DT2-045-03T",null,2,"個"]
[8,"リモートセンサー（20m）KBOP-RS01",null,2,"個"]
[9,"動力設備工事",null,1,"式"]
[10,"空調設備工事",null,1,"式"]
[11,"諸経費",null,1,"式"]

{"sheet":"動力設備 (15)","index":3,"n_rows":21,"n_cols":5,"rows_kept":21,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["栗原秀治様　12号ハウス　仕様書",null,null,null,"Ｎｏ．2"]
["動力設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【機器配線材】"]
["VV-Fケーブル","VV-F　2.0-3C",null,"ｍ"]
["600V　CVT　ケーブル","CVT８°　ころがし",26,"ｍ"]
["600V　CVT　ケーブル","CVT14°　ころがし",null,"ｍ"]
["波付硬質ポリエチレン管","FEP-40",6,"ｍ"]
["波付硬質ポリエチレン管　付属品","FEP-40N",2,"個"]
["合成樹脂製可とう電線管","PF-D-36　露出",4,"ｍ"]
["ボックスコネクター","PF-D-36　",2,"個"]
["波付硬質ポリエチレン管","EFP-80　地中",4,"ｍ"]
["接地工事材","接地棒　7Φ-500L",6,"本"]
["接地工事材","IV3.5°",6,"ｍ"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【工事費】"]
[]
["電工労務費",null,1,"式"]

{"sheet":"空調設備 (15)","index":4,"n_rows":35,"n_cols":5,"rows_kept":35,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["栗原秀治様　12号ハウス　仕様書",null,null,null,"Ｎｏ．3"]
["空調設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【冷媒配管類】"]
["冷媒配管材","9.5Φ/15.9Φ",28,"ｍ"]
["冷媒配管材","9.5Φ",10,"ｍ"]
["冷媒配管材","19.1Φ",10,"ｍ"]
["設備労務費",null,1,"式"]
["分岐管接続",null,2,"ヶ所"]
["冷媒指示金物等",null,2,"ヶ所"]
[]
["【内外線・リモコン工事】"]
["600V　VCTケーブル","VCT　0.3°-2C　ころがし",30,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-2C　ころがし",45,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-3C　ころがし",45,"ｍ"]
["プラボックス　屋根付き","CWB-10DM",1,"面"]
["プラボックス　支持材","SD-D15-2ｍ",2,"本"]
["内外線リモコン工事",null,1,"式"]
[]
["【試運転調整費】"]
["窒素ガス",null,40,"ｋｇ"]
["真空引き及ガスチャージ",null,1,"式"]
["試運転調整費",null,1,"式"]
["室外機ドレンパンヒーター設置工事",null,1,"式"]
["窒素耐圧試験費",null,1,"式"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【機器搬入据付費】"]
["室外機基台","緑石＋U字構",4,"個"]
["室外機基台","レールブロック　600L　150H",8,"個"]
["重量物搬入据付費","普通作業員",5,"人"]
["トラッククレーン","3ｔユニック車　半日",1,"式"]
["ゴムクローラーキャリア","半日",1,"式"]

{"sheet":"児玉成弘様17号","index":5,"n_rows":17,"n_cols":7,"rows_kept":17,"cut":false,"hidden":false,"merged":[[10,1,10,2],[24,1,24,2],[25,1,25,2],[12,1,12,2],[13,1,13,2],[19,1,19,2],[14,1,14,2],[15,1,15,2],[21,1,21,2],[6,5,6,6],[22,1,22,2],[16,1,16,2],[23,1,23,2],[7,1,7,2],[7,5,7,6],[20,1,20,2],[8,1,8,2],[8,5,8,6],[9,1,9,2],[0,0,0,5],[10,5,10,6],[11,1,11,2],[11,5,11,6],[2,1,2,2],[2,5,2,6],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2]],"flags":["formulas_cached_only"]}
["児玉成弘様　17号ハウス　仕様書",{"$nulls":5},"Ｎｏ．１"]
[null,"　"]
[null,"品　　名",null,"数量","単位","備　考"]
[null,"【機器費】"]
[1,"ぐっぴーバズーカーツインタイプ　KBHP-GP180-T2",null,3,"セット"]
[]
[null,"【別売品】"]
[2,"標準多機能ワイヤードリモコン　KBOP-34MA1",null,3,"個","８段変温管理可能"]
[3,"風量ボリュームコントローラー　KBOP-VA02C",null,3,"個"]
[4,"ハウス内ユニット用可変風向ガイド　KBOP-GV01B",null,6,"個"]
[5,"ハウス内ユニット用ドレンソケット　KBOP-DS05",null,6,"個","ソケット1キャップ1"]
[6,"ハウス内ユニット用ドレンソケット　KBOP-DS06",null,3,"個","ソケット1キャップ4"]
[7,"サーモ付テープヒーター　DT2-045-03T",null,3,"個"]
[8,"リモートセンサー（20m）KBOP-RS01",null,3,"個"]
[9,"動力設備工事",null,1,"式"]
[10,"空調設備工事",null,1,"式"]
[11,"諸経費",null,1,"式"]

{"sheet":"動力設備 (5)","index":6,"n_rows":20,"n_cols":5,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["児玉成弘様　17号ハウス",null,null,null,"Ｎｏ．２"]
["動力設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【機器配線材】"]
["VV-Fケーブル","VV-F　2.0-3C",null,"ｍ"]
["600V　CVT　ケーブル","CVT22°　ころがし",250,"ｍ"]
["600V　CVT　ケーブル","CVT14°　ころがし",null,"ｍ"]
["波付硬質ポリエチレン管","FEP-40",9,"ｍ"]
["波付硬質ポリエチレン管　付属品","FEP-40N",3,"個"]
["合成樹脂製可とう電線管","PF-D-36　露出",6,"ｍ"]
["ボックスコネクター","PF-D-36　",3,"個"]
["波付硬質ポリエチレン管","EFP-80　地中",6,"ｍ"]
["接地工事材","接地棒　7Φ-500L",9,"本"]
["接地工事材","IV3.5°",9,"ｍ"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【工事費】"]
["電工労務費",null,1,"式"]

{"sheet":"空調設備 (5)","index":7,"n_rows":36,"n_cols":5,"rows_kept":36,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["児玉成弘様　17号ハウス",null,null,null,"Ｎｏ．３"]
["空調設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【冷媒配管類】"]
["冷媒配管材","9.5Φ/15.9Φ",40,"ｍ"]
["冷媒配管材","9.5Φ",15,"ｍ"]
["冷媒配管材","19.1Φ",15,"ｍ"]
["設備労務費",null,1,"式"]
["分岐管接続",null,3,"ヶ所"]
["冷媒指示金物等",null,18,"ヶ所"]
[]
["【内外線・リモコン工事】"]
["600V　VCTケーブル","VCT　0.3°-2C　ころがし",210,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-2C　ころがし",70,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-3C　ころがし",70,"ｍ"]
["プラボックス　屋根付き","CWB-2DM",1,"面"]
["プラボックス　屋根付き","CWB-10DM",1,"面"]
["プラボックス　支持材","SD-D15-2ｍ",2,"本"]
["内外線リモコン工事",null,1,"式"]
[]
["【試運転調整費】"]
["窒素ガス",null,60,"ｋｇ"]
["真空引き及ガスチャージ",null,1,"式"]
["試運転調整費",null,1,"式"]
["室外機ドレンパンヒーター設置工事",null,1,"式"]
["窒素耐圧試験費",null,1,"式"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【機器搬入据付費】"]
["室外機基台","緑石＋U字構",6,"個"]
["室外機基台","レールブロック　600L　150H",12,"個"]
["重量物搬入据付費","普通作業員",6,"人"]
["トラッククレーン","3ｔユニック車　半日",1,"式"]
["ゴムクローラーキャリア","半日",1,"式"]

{"sheet":"児玉成弘様大草田","index":8,"n_rows":17,"n_cols":7,"rows_kept":17,"cut":false,"hidden":false,"merged":[[10,1,10,2],[24,1,24,2],[25,1,25,2],[12,1,12,2],[13,1,13,2],[19,1,19,2],[14,1,14,2],[15,1,15,2],[21,1,21,2],[6,5,6,6],[22,1,22,2],[16,1,16,2],[23,1,23,2],[7,1,7,2],[7,5,7,6],[20,1,20,2],[8,1,8,2],[8,5,8,6],[9,1,9,2],[0,0,0,5],[10,5,10,6],[11,1,11,2],[11,5,11,6],[2,1,2,2],[2,5,2,6],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2]],"flags":["formulas_cached_only"]}
["児玉成弘様　大草田ハウス　仕様書",{"$nulls":5},"Ｎｏ．１"]
[null,"　"]
[null,"品　　名",null,"数量","単位","備　考"]
[null,"【機器費】"]
[1,"ぐっぴーバズーカーツインタイプ　KBHP-GP180-T2",null,2,"セット"]
[]
[null,"【別売品】"]
[2,"標準多機能ワイヤードリモコン　KBOP-34MA1",null,2,"個","８段変温管理可能"]
[3,"風量ボリュームコントローラー　KBOP-VA02C",null,2,"個"]
[4,"ハウス内ユニット用可変風向ガイド　KBOP-GV01B",null,4,"個"]
[5,"ハウス内ユニット用ドレンソケット　KBOP-DS05",null,4,"個","ソケット1キャップ1"]
[6,"ハウス内ユニット用ドレンソケット　KBOP-DS06",null,2,"個","ソケット1キャップ4"]
[7,"サーモ付テープヒーター　DT2-045-03T",null,2,"個"]
[8,"リモートセンサー（20m）KBOP-RS01",null,2,"個"]
[9,"動力設備工事",null,1,"式"]
[10,"空調設備工事",null,1,"式"]
[11,"諸経費",null,1,"式"]

{"sheet":"動力設備 (6)","index":9,"n_rows":20,"n_cols":5,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["児玉成弘様　大草田ハウス",null,null,null,"Ｎｏ．２"]
["動力設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【機器配線材】"]
["VV-Fケーブル","VV-F　2.0-3C",null,"ｍ"]
["600V　CVT　ケーブル","CVT８°　ころがし",null,"ｍ"]
["600V　CVT　ケーブル","CVT14°　ころがし",95,"ｍ"]
["波付硬質ポリエチレン管","FEP-40",6,"ｍ"]
["波付硬質ポリエチレン管　付属品","FEP-40N",2,"個"]
["合成樹脂製可とう電線管","PF-D-36　露出",4,"ｍ"]
["ボックスコネクター","PF-D-36　",2,"個"]
["波付硬質ポリエチレン管","EFP-80　地中",4,"ｍ"]
["接地工事材","接地棒　7Φ-500L",6,"本"]
["接地工事材","IV3.5°",6,"ｍ"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【工事費】"]
["電工労務費",null,1,"式"]

{"sheet":"空調設備 (6)","index":10,"n_rows":35,"n_cols":5,"rows_kept":35,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["児玉成弘様　大草田ハウス",null,null,null,"Ｎｏ．３"]
["空調設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【冷媒配管類】"]
["冷媒配管材","9.5Φ/15.9Φ",32,"ｍ"]
["冷媒配管材","9.5Φ",10,"ｍ"]
["冷媒配管材","19.1Φ",10,"ｍ"]
["設備労務費",null,1,"式"]
["分岐管接続",null,2,"ヶ所"]
["冷媒指示金物等",null,12,"ヶ所"]
[]
["【内外線・リモコン工事】"]
["600V　VCTケーブル","VCT　0.3°-2C　ころがし",30,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-2C　ころがし",45,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-3C　ころがし",45,"ｍ"]
["プラボックス　屋根付き","CWB-10DM",1,"面"]
["プラボックス　支持材","SD-D15-2ｍ",2,"本"]
["内外線リモコン工事",null,1,"式"]
[]
["【試運転調整費】"]
["窒素ガス",null,40,"ｋｇ"]
["真空引き及ガスチャージ",null,1,"式"]
["試運転調整費",null,1,"式"]
["室外機ドレンパンヒーター設置工事",null,1,"式"]
["窒素耐圧試験費",null,1,"式"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【機器搬入据付費】"]
["室外機基台","緑石＋U字構",4,"個"]
["室外機基台","レールブロック　600L　150H",8,"個"]
["重量物搬入据付費","普通作業員",5,"人"]
["トラッククレーン","3ｔユニック車　半日",1,"式"]
["ゴムクローラーキャリア","半日",1,"式"]

{"sheet":"佐野司様17号ハウス","index":11,"n_rows":17,"n_cols":7,"rows_kept":17,"cut":false,"hidden":false,"merged":[[10,1,10,2],[24,1,24,2],[25,1,25,2],[12,1,12,2],[13,1,13,2],[19,1,19,2],[14,1,14,2],[15,1,15,2],[21,1,21,2],[6,5,6,6],[22,1,22,2],[16,1,16,2],[23,1,23,2],[7,1,7,2],[7,5,7,6],[20,1,20,2],[8,1,8,2],[8,5,8,6],[9,1,9,2],[0,0,0,5],[10,5,10,6],[11,1,11,2],[11,5,11,6],[2,1,2,2],[2,5,2,6],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2]],"flags":["formulas_cached_only"]}
["佐野司様　17号ハウス　仕様書",{"$nulls":5},"Ｎｏ．１"]
[null,"　"]
[null,"品　　名",null,"数量","単位","備　考"]
[null,"【機器費】"]
[1,"ぐっぴーバズーカーツインタイプ　KBHP-GP180-T2",null,2,"セット"]
[]
[null,"【別売品】"]
[2,"標準多機能ワイヤードリモコン　KBOP-34MA1",null,1,"個","８段変温管理可能"]
[3,"風量ボリュームコントローラー　KBOP-VA02C",null,1,"個"]
[4,"ハウス内ユニット用可変風向ガイド　KBOP-GV01B",null,0,"個"]
[5,"ハウス内ユニット用ドレンソケット　KBOP-DS05",null,4,"個","ソケット1キャップ1"]
[6,"ハウス内ユニット用ドレンソケット　KBOP-DS06",null,2,"個","ソケット1キャップ4"]
[7,"サーモ付テープヒーター　DT2-045-03T",null,2,"個"]
[8,"リモートセンサー（20m）KBOP-RS01",null,1,"個"]
[9,"動力設備工事",null,1,"式"]
[10,"空調設備工事",null,1,"式"]
[11,"諸経費",null,1,"式"]

{"sheet":"動力設備 (7)","index":12,"n_rows":21,"n_cols":5,"rows_kept":21,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["佐野司様　17号ハウス",null,null,null,"Ｎｏ．２"]
["動力設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【機器配線材】"]
["VV-Fケーブル","VV-F　2.0-3C",null,"ｍ"]
["600V　CVT　ケーブル","CVT22°　ころがし",164,"ｍ"]
["600V　CVT　ケーブル","CVT14°　ころがし",null,"ｍ"]
["波付硬質ポリエチレン管","FEP-40",null,"ｍ"]
["波付硬質ポリエチレン管　付属品","FEP-40N",null,"個"]
["合成樹脂製可とう電線管","PF-D-36　露出",4,"ｍ"]
["ボックスコネクター","PF-D-36　",2,"個"]
["波付硬質ポリエチレン管","EFP-80　地中",4,"ｍ"]
["接地工事材","接地棒　7Φ-500L",6,"本"]
["接地工事材","IV3.5°",6,"ｍ"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【工事費】"]
[]
["電工労務費",null,1,"式"]

{"sheet":"空調設備 (7)","index":13,"n_rows":35,"n_cols":5,"rows_kept":35,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["佐野司様　17号ハウス",null,null,null,"Ｎｏ．３"]
["空調設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【冷媒配管類】"]
["冷媒配管材","9.5Φ/15.9Φ",37,"ｍ"]
["冷媒配管材","9.5Φ",10,"ｍ"]
["冷媒配管材","19.1Φ",10,"ｍ"]
["設備労務費",null,1,"式"]
["分岐管接続",null,2,"ヶ所"]
["冷媒指示金物等",null,null,"ヶ所"]
[]
["【内外線・リモコン工事】"]
["600V　VCTケーブル","VCT　0.3°-2C　ころがし",30,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-2C　ころがし",53,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-3C　ころがし",53,"ｍ"]
["プラボックス　屋根付き","CWB-10DM",1,"面"]
["プラボックス　支持材","SD-D15-2ｍ",2,"本"]
["内外線リモコン工事",null,1,"式"]
[]
["【試運転調整費】"]
["窒素ガス",null,40,"ｋｇ"]
["真空引き及ガスチャージ",null,1,"式"]
["試運転調整費",null,1,"式"]
["室外機ドレンパンヒーター設置工事",null,1,"式"]
["窒素耐圧試験費",null,1,"式"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【機器搬入据付費】"]
["室外機基台","緑石＋U字構",4,"個"]
["室外機基台","レールブロック　600L　150H",8,"個"]
["重量物搬入据付費","普通作業員",5,"人"]
["トラッククレーン","3ｔユニック車　半日",1,"式"]
["ゴムクローラーキャリア","半日",1,"式"]

{"sheet":"佐野司様5号Bハウス","index":14,"n_rows":18,"n_cols":7,"rows_kept":18,"cut":false,"hidden":false,"merged":[[11,1,11,2],[25,1,25,2],[26,1,26,2],[13,1,13,2],[14,1,14,2],[20,1,20,2],[15,1,15,2],[16,1,16,2],[22,1,22,2],[7,5,7,6],[23,1,23,2],[17,1,17,2],[24,1,24,2],[8,1,8,2],[8,5,8,6],[21,1,21,2],[9,1,9,2],[9,5,9,6],[10,1,10,2],[1,0,1,5],[11,5,11,6],[12,1,12,2],[12,5,12,6],[3,1,3,2],[3,5,3,6],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2]],"flags":["formulas_cached_only"]}
[null,"御　　見　　積　　書"]
["佐野司様　5号Bハウス　仕様書",{"$nulls":5},"Ｎｏ．１"]
[null,"　"]
[null,"品　　名",null,"数量","単位","備　考"]
[null,"【機器費】"]
[1,"ぐっぴーバズーカーツインタイプ　KBHP-GP180-T2",null,4,"セット"]
[]
[null,"【別売品】"]
[2,"標準多機能ワイヤードリモコン　KBOP-34MA1",null,2,"個","８段変温管理可能"]
[3,"風量ボリュームコントローラー　KBOP-VA02C",null,2,"個"]
[4,"ハウス内ユニット用可変風向ガイド　KBOP-GV01B",null,0,"個"]
[5,"ハウス内ユニット用ドレンソケット　KBOP-DS05",null,8,"個","ソケット1キャップ1"]
[6,"ハウス内ユニット用ドレンソケット　KBOP-DS06",null,4,"個","ソケット1キャップ4"]
[7,"サーモ付テープヒーター　DT2-045-03T",null,4,"個"]
[8,"リモートセンサー（20m）KBOP-RS01",null,2,"個"]
[9,"動力設備工事",null,1,"式"]
[10,"空調設備工事",null,1,"式"]
[11,"諸経費",null,1,"式"]

{"sheet":"動力設備 (16)","index":15,"n_rows":20,"n_cols":5,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["佐野司様　5号Bハウス",null,null,null,"Ｎｏ．２"]
["動力設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【機器配線材】"]
["VV-Fケーブル","VV-F　2.0-3C",null,"ｍ"]
["600V　CVT　ケーブル","CVT22°　ころがし",300,"ｍ"]
["600V　CVT　ケーブル","CVT14°　ころがし",null,"ｍ"]
["波付硬質ポリエチレン管","FEP-40",12,"ｍ"]
["波付硬質ポリエチレン管　付属品","FEP-40N",4,"個"]
["合成樹脂製可とう電線管","PF-D-36　露出",8,"ｍ"]
["ボックスコネクター","PF-D-36　",4,"個"]
["波付硬質ポリエチレン管","EFP-80　地中",8,"ｍ"]
["接地工事材","接地棒　7Φ-500L",12,"本"]
["接地工事材","IV3.5°",12,"ｍ"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【工事費】"]
["電工労務費",null,1,"式"]

{"sheet":"空調設備 (8)","index":16,"n_rows":35,"n_cols":5,"rows_kept":35,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["佐野司様　5号Bハウス",null,null,null,"Ｎｏ．３"]
["空調設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【冷媒配管類】"]
["冷媒配管材","9.5Φ/15.9Φ",70,"ｍ"]
["冷媒配管材","9.5Φ",20,"ｍ"]
["冷媒配管材","19.1Φ",20,"ｍ"]
["設備労務費",null,1,"式"]
["分岐管接続",null,4,"ヶ所"]
["冷媒指示金物等",null,null,"ヶ所"]
[]
["【内外線・リモコン工事】"]
["600V　VCTケーブル","VCT　0.3°-2C　ころがし",260,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-2C　ころがし",120,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-3C　ころがし",120,"ｍ"]
["プラボックス　屋根付き","CWB-10DM",2,"面"]
["プラボックス　支持材","SD-D15-2ｍ",2,"本"]
["内外線リモコン工事",null,1,"式"]
[]
["【試運転調整費】"]
["窒素ガス",null,80,"ｋｇ"]
["真空引き及ガスチャージ",null,1,"式"]
["試運転調整費",null,1,"式"]
["室外機ドレンパンヒーター設置工事",null,1,"式"]
["窒素耐圧試験費",null,1,"式"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【機器搬入据付費】"]
["室外機基台","緑石＋U字構",8,"個"]
["室外機基台","レールブロック　600L　150H",16,"個"]
["重量物搬入据付費","普通作業員",9,"人"]
["トラッククレーン","3ｔユニック車　半日",1,"式"]
["ゴムクローラーキャリア","半日",1,"式"]

{"sheet":"松本様4号下ハウス","index":17,"n_rows":17,"n_cols":7,"rows_kept":17,"cut":false,"hidden":false,"merged":[[10,1,10,2],[24,1,24,2],[25,1,25,2],[12,1,12,2],[13,1,13,2],[19,1,19,2],[14,1,14,2],[15,1,15,2],[21,1,21,2],[6,5,6,6],[22,1,22,2],[16,1,16,2],[23,1,23,2],[7,1,7,2],[7,5,7,6],[20,1,20,2],[8,1,8,2],[8,5,8,6],[9,1,9,2],[0,0,0,5],[10,5,10,6],[11,1,11,2],[11,5,11,6],[2,1,2,2],[2,5,2,6],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2]],"flags":["formulas_cached_only"]}
["松本雄平様4号下ハウス　仕様書",{"$nulls":5},"Ｎｏ．１"]
[null,"　"]
[null,"品　　名",null,"数量","単位","備　考"]
[null,"【機器費】"]
[1,"ぐっぴーバズーカーツインタイプ　KBHP-GP180-T2",null,4,"セット"]
[]
[null,"【別売品】"]
[2,"標準多機能ワイヤードリモコン　KBOP-34MA1",null,4,"個","８段変温管理可能"]
[3,"風量ボリュームコントローラー　KBOP-VA02C",null,4,"個"]
[4,"ハウス内ユニット用可変風向ガイド　KBOP-GV01B",null,8,"個"]
[5,"ハウス内ユニット用ドレンソケット　KBOP-DS05",null,8,"個","ソケット1キャップ1"]
[6,"ハウス内ユニット用ドレンソケット　KBOP-DS06",null,4,"個","ソケット1キャップ4"]
[7,"サーモ付テープヒーター　DT2-045-03T",null,4,"個"]
[8,"リモートセンサー（20m）KBOP-RS01",null,4,"個"]
[9,"動力設備工事",null,1,"式"]
[10,"空調設備工事",null,1,"式"]
[11,"諸経費",null,1,"式"]

{"sheet":"動力設備 (17)","index":18,"n_rows":21,"n_cols":5,"rows_kept":21,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["松本雄平様4号下ハウス",null,null,null,"Ｎｏ．２"]
["動力設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【機器配線材】"]
["VV-Fケーブル","VV-F　2.0-3C",null,"ｍ"]
["600V　CVT　ケーブル","CVT22°　ころがし",null,"ｍ"]
["600V　CVT　ケーブル","CVT14°　ころがし",190,"ｍ"]
["波付硬質ポリエチレン管","FEP-40",12,"ｍ"]
["波付硬質ポリエチレン管　付属品","FEP-40N",4,"個"]
["合成樹脂製可とう電線管","PF-D-36　露出",8,"ｍ"]
["ボックスコネクター","PF-D-36　",4,"個"]
["波付硬質ポリエチレン管","EFP-80　地中",8,"ｍ"]
["接地工事材","接地棒　7Φ-500L",12,"本"]
["接地工事材","IV3.5°",12,"ｍ"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【工事費】"]
[]
["電工労務費",null,1,"式"]

{"sheet":"空調設備 (9)","index":19,"n_rows":35,"n_cols":5,"rows_kept":35,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["松本雄平様4号下ハウス",null,null,null,"Ｎｏ．３"]
["空調設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【冷媒配管類】"]
["冷媒配管材","9.5Φ/15.9Φ",50,"ｍ"]
["冷媒配管材","9.5Φ",20,"ｍ"]
["冷媒配管材","19.1Φ",20,"ｍ"]
["設備労務費",null,1,"式"]
["分岐管接続",null,4,"ヶ所"]
["冷媒指示金物等",null,20,"ヶ所"]
[]
["【内外線・リモコン工事】"]
["600V　VCTケーブル","VCT　0.3°-2C　ころがし",190,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-2C　ころがし",50,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-3C　ころがし",50,"ｍ"]
["プラボックス　屋根付き","CWB-10DM",2,"面"]
["プラボックス　支持材","SD-D15-2ｍ",2,"本"]
["内外線リモコン工事",null,1,"式"]
[]
["【試運転調整費】"]
["窒素ガス",null,80,"ｋｇ"]
["真空引き及ガスチャージ",null,1,"式"]
["試運転調整費",null,1,"式"]
["室外機ドレンパンヒーター設置工事",null,1,"式"]
["窒素耐圧試験費",null,1,"式"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【機器搬入据付費】"]
["室外機基台","緑石＋U字構",8,"個"]
["室外機基台","レールブロック　600L　150H",16,"個"]
["重量物搬入据付費","普通作業員",9,"人"]
["トラッククレーン","3ｔユニック車　半日",1,"式"]
["ゴムクローラーキャリア","半日",1,"式"]

{"sheet":"敷本忠洋様3号ハウス","index":20,"n_rows":17,"n_cols":7,"rows_kept":17,"cut":false,"hidden":false,"merged":[[10,1,10,2],[24,1,24,2],[25,1,25,2],[12,1,12,2],[13,1,13,2],[19,1,19,2],[14,1,14,2],[15,1,15,2],[21,1,21,2],[6,5,6,6],[22,1,22,2],[16,1,16,2],[23,1,23,2],[7,1,7,2],[7,5,7,6],[20,1,20,2],[8,1,8,2],[8,5,8,6],[9,1,9,2],[0,0,0,5],[10,5,10,6],[11,1,11,2],[11,5,11,6],[2,1,2,2],[2,5,2,6],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2]],"flags":["formulas_cached_only"]}
["敷本忠洋様3号ハウス　仕様書",{"$nulls":5},"Ｎｏ．１"]
[null,"　"]
[null,"品　　名",null,"数量","単位","備　考"]
[null,"【機器費】"]
[1,"ぐっぴーバズーカーツインタイプ　KBHP-GP180-T2",null,2,"セット"]
[2,"ぐっぴーバズーカーシングルタイプ　KBHP-GP112-S2",null,1,"セット"]
[null,"【別売品】"]
[3,"標準多機能ワイヤードリモコン　KBOP-34MA1",null,3,"個","８段変温管理可能"]
[4,"風量ボリュームコントローラー　KBOP-VA02C",null,3,"個"]
[5,"ハウス内ユニット用可変風向ガイド　KBOP-GV01B",null,0,"個"]
[6,"ハウス内ユニット用ドレンソケット　KBOP-DS05",null,5,"個","ソケット1キャップ1"]
[7,"ハウス内ユニット用ドレンソケット　KBOP-DS06",null,3,"個","ソケット1キャップ4"]
[8,"サーモ付テープヒーター　DT2-045-03T",null,3,"個"]
[9,"リモートセンサー（20m）KBOP-RS01",null,3,"個"]
[10,"動力設備工事",null,1,"式"]
[11,"空調設備工事",null,1,"式"]
[12,"諸経費",null,1,"式"]

{"sheet":"動力設備 (13)","index":21,"n_rows":20,"n_cols":5,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["敷本忠洋様3号ハウス",null,null,null,"Ｎｏ．２"]
["動力設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【機器配線材】"]
["VV-Fケーブル","VV-F　2.0-3C",null,"ｍ"]
["600V　CVT　ケーブル","CVT８°　ころがし",60,"ｍ"]
["600V　CVT　ケーブル","CVT14°　ころがし",null,"ｍ"]
["波付硬質ポリエチレン管","FEP-40",10,"ｍ"]
["波付硬質ポリエチレン管　付属品","FEP-40N",3,"個"]
["合成樹脂製可とう電線管","PF-D-36　露出",6,"ｍ"]
["ボックスコネクター","PF-D-36　",3,"個"]
["波付硬質ポリエチレン管","EFP-80　地中",6,"ｍ"]
["接地工事材","接地棒　7Φ-500L",8,"本"]
["接地工事材","IV3.5°",8,"ｍ"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【工事費】"]
["電工労務費",null,1,"式"]

{"sheet":"空調設備 (13)","index":22,"n_rows":35,"n_cols":5,"rows_kept":35,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["敷本忠洋様3号ハウス",null,null,null,"Ｎｏ．３"]
["空調設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【冷媒配管類】"]
["冷媒配管材","9.5Φ/15.9Φ",18,"ｍ"]
["冷媒配管材","9.5Φ",10,"ｍ"]
["冷媒配管材","19.1Φ",10,"ｍ"]
["設備労務費",null,1,"式"]
["分岐管接続",null,2,"ヶ所"]
["冷媒指示金物等",null,12,"ヶ所"]
[]
["【内外線・リモコン工事】"]
["600V　VCTケーブル","VCT　0.3°-2C　ころがし",50,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-2C　ころがし",25,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-3C　ころがし",25,"ｍ"]
["プラボックス　屋根付き","CWB-10DM",1,"面"]
["プラボックス　支持材","SD-D15-2ｍ",1,"本"]
["内外線リモコン工事",null,1,"式"]
[]
["【試運転調整費】"]
["窒素ガス",null,50,"ｋｇ"]
["真空引き及ガスチャージ",null,1,"式"]
["試運転調整費",null,1,"式"]
["室外機ドレンパンヒーター設置工事",null,1,"式"]
["窒素耐圧試験費",null,1,"式"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【機器搬入据付費】"]
["室外機基台","緑石＋U字構",6,"個"]
["室外機基台","レールブロック　600L　150H",10,"個"]
["重量物搬入据付費","普通作業員",5,"人"]
["トラッククレーン","3ｔユニック車　半日",1,"式"]
["ゴムクローラーキャリア","半日",1,"式"]

{"sheet":"敷本忠洋様17号ハウス","index":23,"n_rows":17,"n_cols":7,"rows_kept":17,"cut":false,"hidden":false,"merged":[[10,1,10,2],[24,1,24,2],[25,1,25,2],[12,1,12,2],[13,1,13,2],[19,1,19,2],[14,1,14,2],[15,1,15,2],[21,1,21,2],[6,5,6,6],[22,1,22,2],[16,1,16,2],[23,1,23,2],[7,1,7,2],[7,5,7,6],[20,1,20,2],[8,1,8,2],[8,5,8,6],[9,1,9,2],[0,0,0,5],[10,5,10,6],[11,1,11,2],[11,5,11,6],[2,1,2,2],[2,5,2,6],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2]],"flags":["formulas_cached_only"]}
["敷本忠洋様17号ハウス　仕様書",{"$nulls":5},"Ｎｏ．１"]
[null,"　"]
[null,"品　　名",null,"数量","単位","備　考"]
[null,"【機器費】"]
[1,"ぐっぴーバズーカーツインタイプ　KBHP-GP180-T2",null,1,"セット"]
[2,"ぐっぴーバズーカーシングルタイプ　KBHP-GP112-S2",null,1,"セット"]
[null,"【別売品】"]
[3,"標準多機能ワイヤードリモコン　KBOP-34MA1",null,2,"個","８段変温管理可能"]
[4,"風量ボリュームコントローラー　KBOP-VA02C",null,2,"個"]
[5,"ハウス内ユニット用可変風向ガイド　KBOP-GV01B",null,3,"個"]
[6,"ハウス内ユニット用ドレンソケット　KBOP-DS05",null,3,"個","ソケット1キャップ1"]
[7,"ハウス内ユニット用ドレンソケット　KBOP-DS06",null,2,"個","ソケット1キャップ4"]
[8,"サーモ付テープヒーター　DT2-045-03T",null,2,"個"]
[9,"リモートセンサー（20m）KBOP-RS01",null,2,"個"]
[10,"動力設備工事",null,1,"式"]
[11,"空調設備工事",null,1,"式"]
[12,"諸経費",null,1,"式"]

{"sheet":"動力設備 (14)","index":24,"n_rows":20,"n_cols":5,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["敷本忠洋様17号ハウス",null,null,null,"Ｎｏ．２"]
["動力設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【機器配線材】"]
["VV-Fケーブル","VV-F　2.0-3C",null,"ｍ"]
["600V　CVT　ケーブル","CVT22°　ころがし",55,"ｍ"]
["600V　CVT　ケーブル","CVT14°　ころがし",60,"ｍ"]
["波付硬質ポリエチレン管","FEP-40",null,"ｍ"]
["波付硬質ポリエチレン管　付属品","FEP-40N",null,"個"]
["合成樹脂製可とう電線管","PF-D-36　露出",4,"ｍ"]
["ボックスコネクター","PF-D-36　",2,"個"]
["波付硬質ポリエチレン管","EFP-80　地中",4,"ｍ"]
["接地工事材","接地棒　7Φ-500L",5,"本"]
["接地工事材","IV3.5°",5,"ｍ"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【工事費】"]
["電工労務費",null,1,"式"]

{"sheet":"空調設備 (14)","index":25,"n_rows":35,"n_cols":5,"rows_kept":35,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["敷本忠洋様17号ハウス",null,null,null,"Ｎｏ．３"]
["空調設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【冷媒配管類】"]
["冷媒配管材","9.5Φ/15.9Φ",24,"ｍ"]
["冷媒配管材","9.5Φ",5,"ｍ"]
["冷媒配管材","19.1Φ",5,"ｍ"]
["設備労務費",null,1,"式"]
["分岐管接続",null,1,"ヶ所"]
["冷媒指示金物等",null,6,"ヶ所"]
[]
["【内外線・リモコン工事】"]
["600V　VCTケーブル","VCT　0.3°-2C　ころがし",120,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-2C　ころがし",35,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-3C　ころがし",35,"ｍ"]
["プラボックス　屋根付き","CWB-10DM",1,"面"]
["プラボックス　支持材","SD-D15-2ｍ",2,"本"]
["内外線リモコン工事",null,1,"式"]
[]
["【試運転調整費】"]
["窒素ガス",null,30,"ｋｇ"]
["真空引き及ガスチャージ",null,1,"式"]
["試運転調整費",null,1,"式"]
["室外機ドレンパンヒーター設置工事",null,1,"式"]
["窒素耐圧試験費",null,1,"式"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【機器搬入据付費】"]
["室外機基台","緑石＋U字構",4,"個"]
["室外機基台","レールブロック　600L　150H",6,"個"]
["重量物搬入据付費","普通作業員",4,"人"]
["トラッククレーン","3ｔユニック車　半日",1,"式"]
["ゴムクローラーキャリア","半日",1,"式"]

{"sheet":"毎田周一様３号ハウス","index":26,"n_rows":17,"n_cols":7,"rows_kept":17,"cut":false,"hidden":false,"merged":[[2,1,2,2],[2,5,2,6],[0,0,0,5],[11,5,11,6],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[6,5,6,6],[7,1,7,2],[7,5,7,6],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2],[8,1,8,2],[8,5,8,6],[9,1,9,2],[10,1,10,2],[10,5,10,6],[11,1,11,2],[24,1,24,2],[25,1,25,2],[16,1,16,2],[19,1,19,2],[20,1,20,2],[21,1,21,2],[22,1,22,2],[23,1,23,2]],"flags":["formulas_cached_only"]}
["毎田周一様　３号ハウス　仕様書",{"$nulls":5},"Ｎｏ．１"]
[null,"　"]
[null,"品　　名",null,"数量","単位","備　考"]
[null,"【機器費】"]
[1,"ぐっぴーバズーカーツインタイプ　KBHP-GP180-T2",null,2,"セット"]
[]
[null,"【別売品】"]
[2,"標準多機能ワイヤードリモコン　KBOP-34MA1",null,2,"個","８段変温管理可能"]
[3,"風量ボリュームコントローラー　KBOP-VA02C",null,2,"個"]
[4,"ハウス内ユニット用可変風向ガイド　KBOP-GV01B",null,0,"個"]
[5,"ハウス内ユニット用ドレンソケット　KBOP-DS05",null,4,"個","ソケット1キャップ1"]
[6,"ハウス内ユニット用ドレンソケット　KBOP-DS06",null,2,"個","ソケット1キャップ4"]
[7,"サーモ付テープヒーター　DT2-045-03T",null,2,"個"]
[8,"リモートセンサー（20m）KBOP-RS01",null,2,"個"]
[9,"動力設備工事",null,1,"式"]
[10,"空調設備工事",null,1,"式"]
[11,"諸経費",null,1,"式"]

{"sheet":"動力設備 (11)","index":27,"n_rows":20,"n_cols":5,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["毎田周一様３号ハウス",null,null,null,"Ｎｏ．２"]
["動力設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【機器配線材】"]
["VV-Fケーブル","VV-F　2.0-3C",null,"ｍ"]
["600V　CVT　ケーブル","CVT22°　ころがし",140,"ｍ"]
["600V　CVT　ケーブル","CVT14°　ころがし",null,"ｍ"]
["波付硬質ポリエチレン管","FEP-40",6,"ｍ"]
["波付硬質ポリエチレン管　付属品","FEP-40N",2,"個"]
["合成樹脂製可とう電線管","PF-D-36　露出",4,"ｍ"]
["ボックスコネクター","PF-D-36　",2,"個"]
["波付硬質ポリエチレン管","EFP-80　地中",4,"ｍ"]
["接地工事材","接地棒　7Φ-500L",6,"本"]
["接地工事材","IV3.5°",6,"ｍ"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【工事費】"]
["電工労務費",null,1,"式"]

{"sheet":"空調設備 (16)","index":28,"n_rows":35,"n_cols":5,"rows_kept":35,"cut":false,"hidden":false,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["毎田周一様３号ハウス",null,null,null,"Ｎｏ．３"]
["空調設備工事"]
["名　　　　称","型　状　・　寸　法","数量","単位","摘　　　要"]
["【冷媒配管類】"]
["冷媒配管材","9.5Φ/15.9Φ",25,"ｍ"]
["冷媒配管材","9.5Φ",10,"ｍ"]
["冷媒配管材","19.1Φ",10,"ｍ"]
["設備労務費",null,1,"式"]
["分岐管接続",null,2,"ヶ所"]
["冷媒指示金物等",null,12,"ヶ所"]
[]
["【内外線・リモコン工事】"]
["600V　VCTケーブル","VCT　0.3°-2C　ころがし",50,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-2C　ころがし",60,"ｍ"]
["600V　VCTケーブル","VCT　3.5°-3C　ころがし",60,"ｍ"]
["プラボックス　屋根付き","CWB-2DM",1,"面"]
["プラボックス　支持材","SD-D15-2ｍ",2,"本"]
["内外線リモコン工事",null,1,"式"]
[]
["【試運転調整費】"]
["窒素ガス",null,40,"ｋｇ"]
["真空引き及ガスチャージ",null,1,"式"]
["試運転調整費",null,1,"式"]
["室外機ドレンパンヒーター設置工事",null,1,"式"]
["窒素耐圧試験費",null,1,"式"]
[]
["【その他材料】"]
["雑材料消耗品",null,1,"式"]
[]
["【機器搬入据付費】"]
["室外機基台","緑石＋U字構",4,"個"]
["室外機基台","レールブロック　600L　150H",8,"個"]
["重量物搬入据付費","普通作業員",5,"人"]
["トラッククレーン","3ｔユニック車　半日",1,"式"]
["ゴムクローラーキャリア","半日",1,"式"]